DEPARTMENTAL SAFETY INSPECTIONS – Form S24a1

Checklist of Risk Control Arrangements and Workplace Precautions

for Lower Risk Areas – Offices, Teaching Rooms, etc.

p1 of 5

This checklist is designed to enable Departments to identify key health and safety risk control arrangements and workplace precautions that will generally need to be considered, through periodic management meetings and safety inspections, to ensure a robust risk control process. The checklist comprises a range of statements, grouped under various topics, which if true of a particular area, will generally indicate good health and safety arrangements and practices. The statements are arranged in two tiers. Those that appear at the beginning of each topic, in bold, generally relate to departmental management systems or procedures that will need to be addressed, though not exclusively, by the line manager, the Departmental Safety Committee or the department’s senior management. Where corrective, shorter-term management actions are required, these may be noted in Form S24c – Departmental Safety Inspection Report. Longer-term management actions may be noted in the Departmental Safety Action Plan. Statements that appear in ordinary typeface relate to precautions, practices and conditions that should be considered during safety inspections of specific work areas, to verify these are satisfactory, or not. These latter statements have been compiled into a separate proforma checklist (S24b2) for recording notes during safety inspections. Management and inspection teams are encouraged to amend and/or expand this checklist to fully address the specific requirements, work activities and accommodation within their department. The term ‘staff’ is used to refer to all employees, relevant post-graduates, visiting academics and agency personnel. The term ‘relevant persons’ is used to refer to all staff, and relevant undergraduates. Further background to safety inspections can be found in the Health and Safety Policy and more particularly in the Guidance on Safety Inspections.

| Ref: | Inspection Topic and Issue |
| --- | --- |
| 1. | Provision of General Information |
| 1.1 | Copies of the University Health and Safety Policy have been made available, to all staff (or its location on the Safety Services website communicated). |
| 1.2 | Copies of all relevant Local Rules and Guidance Notes have been made available. |
| 1.3 | Copies of the Departmental Safety Regulations have been published, updated and issued to all relevant persons. |
| 1.4 | All relevant persons Have been made aware of the University’s No Smoking Policy. |
| 2. | Health & Safety Training |
| 2.1 | All relevant persons have had a formal induction into the Departmental Safety Regulations, including local fire safety arrangements. |
| 2.2 | All new staff have attended Safety Services’ Health & Safety Policy and Fire Safety Awareness Training (or watched the DVD) within 4 months of commencing employment, or after 5 years of employment. |
| 2.3 | A system is in place to ensure that the level of instruction, training and supervision is commensurate with the skill and experience levels of individuals. |
| 2.4 | Records of Health and Safety Training (S17’s) are kept up to date and retained for inspection. |
| 3. | Fire Safety Precautions |
| 3.1 | A Fire Safety Co-ordinator has been appointed and is known to relevant persons. |
| 3.2 | Staff have been instructed to carry out simple fire safety checks before leaving an area unattended for long periods. |
| 3.3 | Fire exits, routes and call-points are clearly marked, free from obstruction and known to staff. |
| 3.4 | Fire action notices are displayed and include details of assembly points. |

| p2 of 5: Checklist of Risk Control Arrangements and Workplace Precautions for Lower Risk Areas |
| --- |
| Ref: | Inspection Topic and Issue |
| 3. | Fire Safety Precautions cont’d |
| 3.5 | Sources of ignition (e.g. batteries, power supplies) are adequately controlled. |
| 3.6 | Fire-fighting equipment is sufficient, of correct type, in designated location, accessible and serviced. |
| 3.7 | Fire doors are kept closed (unless automatic). |
| 3.8 | Fire alarms are easily audible above background noises. |
| 3.9 | Internal telephones are labelled with emergency contact details (Ext 2222). |
| 4. | First Aid |
| 4.1 | First aid boxes are checked regularly to ensure they are kept well stocked with contents in good condition. |
| 4.2 | One or more box is readily available, adequately stocked with contents in good condition. |
| 4.3 | Suitable notices and signs locate first aid box(es). |
| 5. | Reporting Procedures |
| 5.1 | There is a known procedure for reporting hazards to the Departmental Safety Convener or other senior member of staff. |
| 5.2 | There is a known procedure to enable staff to report defects in building fabrics or services, within the department, so that Estates Management Helpdesk can be notified. |
| 5.3 | S1 and Estates Management Helpdesk reporting procedures are known to relevant persons. |
| 6. | Risk Assessment |
| 6.1 | A systematic approach is taken to carrying out suitable and sufficient risk assessments of general work activities and to implementing necessary risk control measures. |
| 6.2 | A systematic approach is taken to carrying out specific risk assessments e.g. Manual Handling Operations, Display Screen Equipment etc. |
| 6.3 | Suitable and sufficient risk assessments have been carried out for all work activities, are readily available and have been read by relevant persons. |
| 7. | Safe Systems of Work (or Standard Operating Procedures) |
| 7.1 | There is a consistent approach to developing safe systems of work (or standard operating procedures) for complex or hazardous activities, to ensure control over the risks. |
| 7.2 | Safe systems of work (or standard operating procedures), where applicable are readily available and have been read by relevant persons. |
| 7.3 | There is evidence that relevant persons are working to applicable safe systems. |
| 7.4 | Vision panels in doors have not been obscured except where required as part of a risk assessment e.g. laser labs. |
| 8. | Work Equipment |
| 8.1 | There is a known procedure for ensuring that proposed work equipment is risk assessed prior to placing an order. |
| 8.2 | Where work equipment needs to be inspected to ensure it continues to be safe for use, there is a procedure for ensuring this is carried out at specified intervals and by a competent person. |
| 8.3 | There is a known procedure to ensure that potential users of work equipment receive adequate instruction and training in the safe operation of specific equipment, prior to use. |
| 8.4 | There is a written record to document the training of users of hazardous equipment. |
| 8.5 | Work equipment is suitable for its purpose, the conditions in which it is used and is maintained in a safe condition. |
| 8.6 | Risks, created by the use of equipment, are eliminated or adequately controlled by suitable ‘hardware’ measures (guards, warning devices, PPE etc) and ‘software’ measures (manufacturer’s safety instructions, safe systems of work etc). |
| 8.7 | Users of work equipment have received adequate information, instruction and training (including refresher training, where necessary). |

| p3 of 5: Checklist of Risk Control Arrangements and Workplace Precautions for Lower Risk Areas |
| --- |
| Ref: | Inspection Topic and Issue |
| 9. | Electrical Safety |
| 9.1 | An inventory of all portable electrical equipment is kept up to date, so that items can be tested for electrical safety on a regular basis. |
| 9.2 | The department has either its own competent person to carry out portable appliance testing (PAT), access to a competent person from another department or a contract with Estates Management. |
| 9.3 | Users of portable electrical appliances have been advised to carry out a visual inspection of equipment they use, with particular emphasis on integrity of cables and plugs and to report any defect to a line manager or Estates Management Helpdesk, as appropriate. |
| 9.4 | There is a known procedure for ensuring that any used item of equipment, acquired between test dates, is tested by a relevant competent person and added to the inventory. |
| 9.5 | There is a known procedure for ensuring that brand new portable electrical appliances are, prior to service, visually inspected by a competent person, to confirm the following: suitable plug, appropriate fuse and sound connecting cable. |
| 9.6 | Items of hard wired equipment are subject to regular maintenance checks and remedial action where required. |
| 9.7 | Portable electrical equipment has been PAT tested and labelled with date of retest. |
| 9.8 | Electrical leads are kept away from sources of heat, corrosion and moisture. |
| 9.9 | Unfixed gang sockets are being used appropriately (e.g. uncoiled, safely located, not overloaded) |
| 9.10 | Isolators and emergency stop buttons are clearly identifiable, accessible and their locations known to relevant persons. |
| 10. | Manual Handling |
| 10.1 | There are sufficient, trained Manual Handling Assessors for the number and frequency of manual handling activities within the Department. |
| 10.2 | Suitable and sufficient manual handling risk assessments have been carried out for tasks which require the transporting or supporting of a load which could result in injury (including lifting, putting down, pushing, pulling, carrying or moving) by hand or bodily force, are readily available and have been read by relevant persons. |
| 10.3 | Manual handling risk assessments are readily available and have been read by relevant persons. |
| 10.4 | Frequently used heavy items are stored on shelves at waist level. |
| 10.5 | Infrequently used heavy items, are stored on shelves at low level. |
| 10.6 | Appropriate ‘work at height’ aids are available for reaching shelves above shoulder height. |
| 11. | Display Screen Equipment (DSE) |
| 11.1 | There are sufficient, trained DSE Assessors for the number of DSE users within the Department. |
| 11.2 | There is a known procedure to alert DSE Assessors of the need to review individual risk assessments, when significant changes take place. |
| 11.3 | DSE are assessments being regularly reviewed. |
| 11.4 | A suitable and sufficient risk assessment has been made of each work station, with the user present and the findings recorded. |
| 11.5 | All users have attended the Safety Services’ Computer Workstation Awareness course. |
| 12. | Working Environment |
| 12.1 | Ventilation – there is effective and suitable ventilation supplying sufficient fresh or purified air. |
| 12.2 | Temperature – the temperature is such that staff can work in reasonable comfort during working hours (minimum is 16 °C for sedentary work, or 13 °C for physical work). |
| 12.3 | Lighting – there is suitable and sufficient lighting to enable persons to work and move about safely. |

| p4 of 5: Checklist of Risk Control Arrangements and Workplace Precautions for Lower Risk Areas |
| --- |
| Ref: | Inspection Topic and Issue |
| 12. | Working Environment cont’d |
| 12.4 | Room dimensions – Rooms in which people work have sufficient floor area, height and unoccupied space to allow them to get to and from workstations and to move within the room with ease. |
| 12.5 | Workstations and seating (other than computer workstations) – tasks can be carried out safely and comfortably (e.g. work surface at suitable height, access to materials/controls, freedom of movement, ability to stand upright etc.) |
| 12.6 | – user can leave it swiftly, without slipping or falling or be assisted in an emergency. |
| 12.7 | – seat provides adequate support for the lower back. |
| 12.8 | – where user cannot comfortably place their feet flat on the floor, a footrest is provided. |
| 13. | Control of Noise |
| 13.1 | Where equipment generates noise to the extent that it is difficult to hold a conversation with someone at a distance of 2 metres, a noise survey has been carried out by a competent person (assistance available from Safety Services). |
| 13.2 | Where noise is an issue, appropriate noise control measures have been implemented. |
| 14. | Welfare Facilities |
|  | Drinking Water |
| 14.1 | Where provided, drinking water dispensers are subject to a cleaning/maintenance regime. |
| 14.2 | Where dispensers use bottled water, the stock of water is kept in a cool, dark place. |
| 14.3 | Suitable drinking receptacles are provided. |
|  | Accommodation for Clothing |
| 14.4 | Accommodation is provided for clothing not being worn during working hours. |
| 14.5 | Accommodation is provided for special work clothing such as overalls, uniforms etc. |
| 14.6 | Such accommodation (minimum of a separate hook for each person) provides a clean, warm, dry, well-ventilated place, where clothing can dry out during the course of the day, if necessary. |
|  | Facilities for Changing Clothing |
| 14.7 | Where workers need to remove more than outer clothing in order to change into special work clothing, a changing room (or rooms) is provided. |
| 14.8 | Where workers’ own clothing could be contaminated by a harmful substance, a changing room (or rooms) is provided. |
|  | Facilities for Rest |
| 14.9 | Where workers have to stand to carry out their work, suitable seats are provided for their use, if the type of work gives them the opportunity to sit down from time to time. |
| 14.10 | Where rest areas or rooms are provided, they are large enough and have sufficient seats with back rests and tables, for the number of workers likely to use them at any one time. |
|  | Facilities for Eating |
| 14.11 | Where provided, eating facilities are kept clean to a suitable hygiene standard. |
| 15. | Lone Working |
| 15.1 | There a known procedure whereby the presence of lone or out-of hour workers is known and monitored. |
| 15.2 | All lone or out-of-hours working has been risk-assessed and, where necessary, the appropriate measures put in place to control the risks. |
| 16. | Home working |
|  | Where staff have written authorisation from their Head of Department to work from home, a risk assessment has been carried out of their work activities, including a DSE assessment. |

| p5 of 5: Checklist of Risk Control Arrangements and Workplace Precautions for Lower Risk Areas |
| --- |
| Ref: | Inspection Topic and Issue |
| 17. | Young Persons |
| 17.1 | There is a known procedure for providing Health and Safety induction to undergraduate students and to those on workplace experience within the department. |
| 17.2 | This procedure has been reviewed and, where necessary, revised in the past 12 months. |
| 18. | Placement of Students |
|  | Where students are placed in host organisations, suitable management procedures have been developed, including adherence to the Local Rules on Safety Requirements for the Placement of Students, to ensure their health, safety and welfare. |
| 19. | Staff working away from the University |
|  | Where staff are required to work in host organisations, including those overseas, suitable management procedures have been developed, to ensure their health, safety and welfare. |
| 20. | Contractors or Service Providers |
| 20.1 | Where the department engages outside contractors, one or more University Supervising Officers (USO) has been appointed. |
| 20.2 | USO’s are familiar with the documents ‘Contractors - Local Rules for Safe Practice’ and ‘Guidance for Departments Engaging Service Providers’. |
| 21. | Condition of Premises |
|  | Note separately any obvious defects in fabric/services of the premises e.g. floors, walls, ceilings, stairs, wiring, wall sockets, lighting, toilets, furniture, fixtures, fittings etc. that need to be notified to Estates Management. |
| 22. | General Housekeeping |
| 22.1 | Where necessary, racking/shelving has been assembled and securely fixed by a competent person. |
| 22.2 | The general work area (including furniture, fittings, benches, sinks, equipment etc.) is kept sufficiently clean, tidy and free from clutter. |
| 22.3 | Floors, walls and ceilings are capable of being kept sufficiently clean. |
| 22.4 | Waste materials are only placed in suitable receptacles, in designated areas and which are emptied regularly. |
| 22.5 | Passageways and traffic routes are clear of obstructions and tripping hazards, e.g. cables, boxes, stock, rubbish etc. |
| 22.6 | Equipment, materials and objects are stored in a stable and secure manner. |
| 22.7 | The loading of racking/shelving appears to be within its design limitations. |
|  | Specific Issues not covered elsewhere: |

For issues that require attention by Estates Management, a Service Request or a Maintenance Request should be raised or the Helpdesk (ex 2164) notified without delay.

Where it is not possible for members of the inspection team to take immediate corrective action to deal with an issue, then actions should be included in the Safety Inspection Report (Form S24c).

Issues that require significant senior departmental management input and a response in the longer term can form the basis of the Departmental Safety Action Plan.