DEPARTMENTAL SAFETY INSPECTIONS - Form S24b2

Checklist of Workplace Precautions for:

Higher Risk Areas - Laboratories, Workshops, Kitchens etc.

| p1 of 6 |
| --- |
| Department: | Inspection Team: |
| Location(s): | Date: |
| This checklist is designed to remind safety inspection teams of the various workplace precautions, practices and conditions that will generally need to be effective, if a laboratory, workshop etc. is to be operated in a safe manner. It comprises a range of statements, grouped under various topics, which if true of the particular area, will generally indicate good practices. The checklist also facilitates the collection of relevant information. Where an inspection team is confident, either through on-site observations or checking relevant documents, that positive evidence exists to support a particular statement, this can be indicated in the S (Satisfactory) column. If evidence is available but is judged to be deficient, in that it does not fully support a statement, then this should be indicated in the Un (Unsatisfactory) column. The Comments column may then be used to record the hazard, non-conformance, problem or comments in relation to both the S and Un indicators. Where evidence is non-existent then both the S and Un columns should be left blank and an appropriate comment made. Comments should then be transferred to Form S24c – Departmental Safety Inspection Report where corrective actions can be noted and delegated. The checklist represents the workplace precautions statements from a broader-based ‘Checklist of Risk Control Arrangements and Workplace Precautions’ (Form S24b1) which is designed to enable Departments to identify key issues that will generally need to be considered, through periodic management meetings and safety inspections, to ensure a robust risk control process. Inspection teams are encouraged to amend and/or expand this checklist to fully address the specific requirements, work activities and accommodation within their department. The term ‘staff’ is used to refer to all employees, relevant post-graduates, visiting academics and agency personnel. The term ‘relevant persons’ is used to refer to all staff, and relevant undergraduates. Further background to safety inspections can be found in the Health and Safety Policy and more particularly in the Guidance on Safety Inspections. |

Key: N/A = Not Applicable; S = Satisfactory; Un = Unsatisfactory

| Inspection Topic & Issue | N/A ( | Supporting Evidence | Comments (hazard, non-conformance, problem etc.) |
| --- | --- | --- | --- |
|  |  | S ( | Un ( |  |
| Fire Safety Precautions |  |  |  |  |
| Fire exits, routes and call-points are clearly marked, free from obstruction and known to staff. |  |  |  |  |
| Fire action notices are displayed and include details of assembly points. |  |  |  |  |
| Sources of ignition (e.g. batteries, power supplies) are adequately controlled. |  |  |  |  |
| Fire-fighting equipment is sufficient, of correct type, in designated location, accessible and serviced. |  |  |  |  |
| Fire doors are kept closed (unless automatic). |  |  |  |  |
| Fire alarms are easily audible above background noises. |  |  |  |  |
| Internal telephones are labelled with emergency contact details (Ext 2222). |  |  |  |  |
| First Aid |  |  |  |  |
| One or more box is readily available, adequately stocked with contents in good condition. |  |  |  |  |
| Suitable notices and signs locate first aid box(es). |  |  |  |  |

| p2 of 6: Checklist of Workplace Precautions for Higher Risk Areas |
| --- |
| Inspection Topic & Issue | N/A ( | Supporting Evidence | Comments (hazard, non-conformance, problem etc.) |
|  |  | S ( | Un ( |  |
| Reporting Procedures |  |  |  |  |
| S1 and Estates Management Helpdesk reporting procedures are known to relevant persons. |  |  |  |  |
| Risk Assessment |  |  |  |  |
| Suitable and sufficient risk assessments have been carried out for all work activities, are readily available and have been read by relevant persons. |  |  |  |  |
| Safe Systems of Work (Standard Operating Procedures) |  |  |  |  |
| Safe systems of work (or standard operating procedures), where applicable are readily available and have been read by relevant persons. |  |  |  |  |
| There is evidence that relevant persons are working to applicable safe systems. |  |  |  |  |
| Vision panels in doors have not been obscured except where required as part of a risk assessment e.g. laser labs |  |  |  |  |
| Work Equipment |  |  |  |  |
| Work equipment is suitable for its purpose, the conditions in which it is used and is maintained in a safe condition. |  |  |  |  |
| Risks, created by the use of equipment, are eliminated or adequately controlled by suitable ‘hardware’ measures (guards, warning devices, PPE etc) and ‘software’ measures (manufacturer’s safety instructions, safe systems of work etc). |  |  |  |  |
| Users of work equipment have received adequate information, instruction and training (including refresher training, where necessary). |  |  |  |  |
| Fridges and freezers in laboratories are suitable, sparkproof, free from food and drink and periodically checked and cleaned. |  |  |  |  |
| Walk-in freezers can be opened from the inside. |  |  |  |  |
| Electrical Safety |  |  |  |  |
| Portable electrical equipment has been PAT tested and labelled with date of retest. |  |  |  |  |
| Electrical leads are kept away from sources of heat, corrosion and moisture. |  |  |  |  |
| Unfixed gang sockets are being used appropriately. |  |  |  |  |
| Isolators and emergency stop buttons are clearly identifiable, accessible and their locations known to relevant persons. |  |  |  |  |
| Manual Handling |  |  |  |  |
| Manual handling risk assessments are readily available and have been read by relevant persons. |  |  |  |  |
| Frequently used heavy items are stored on shelves at waist level. |  |  |  |  |
| Infrequently used heavy items, are stored on shelves at low level. |  |  |  |  |
| Appropriate ‘work at height’ aids are available for reaching shelves above shoulder height. |  |  |  |  |
| Display Screen Equipment (DSE) |  |  |  |  |
| A suitable and sufficient risk assessment has been made of each work station, with the user present and the findings recorded. |  |  |  |  |
| All users have attended the Safety Services’ Computer Workstation Awareness course. |  |  |  |  |
| Working Environment |  |  |  |  |
| Ventilation – there is effective and suitable ventilation supplying sufficient fresh or purified air. |  |  |  |  |
| Temperature – the temperature is such that staff can work in reasonable comfort during working hours (minimum is 16 °C for sedentary work, or 13 °C for physical work). |  |  |  |  |

| p3 of 6: Checklist of Workplace Precautions for Higher Risk Areas |
| --- |
| Inspection Topic & Issue | N/A ( | Supporting Evidence | Comments (hazard, non-conformance, problem etc.) |
|  |  | S ( | Un ( |  |
| Working Environment cont’d |  |  |  |  |
| Lighting – there is suitable and sufficient lighting to enable persons to work and move about safely. |  |  |  |  |
| Room dimensions – Rooms in which people work have sufficient floor area, height and unoccupied space to allow them to get to and from workstations and to move within the room with ease. |  |  |  |  |
| Workstations and seating (other than computer workstations) – tasks can be carried out safely and comfortably (e.g. work surface at suitable height, access to materials/controls, freedom of movement, ability to stand upright etc.) |  |  |  |  |
| – user can leave it swiftly, without slipping or falling or be assisted in an emergency. |  |  |  |  |
| – seat provides adequate support for lower back. |  |  |  |  |
| – where user cannot comfortably place their feet flat on the floor, a footrest is provided. |  |  |  |  |
| Control of Noise |  |  |  |  |
| Where equipment generates noise to the extent that it is difficult to hold a conversation with someone at a distance of 2 metres, a noise survey has been carried out by a competent person (assistance available from Safety Services). |  |  |  |  |
| Where noise is an issue, appropriate noise control measures have been implemented. |  |  |  |  |
| Welfare Facilities |  |  |  |  |
| Washing Facilities |  |  |  |  |
| Hand washing facilities are available. |  |  |  |  |
| Eye wash stations are kept clean and stocked with in-date eye wash. |  |  |  |  |
| Where showers are provided and fed by both hot and cold water, thermostatic mixer valves are fitted to prevent users being scalded. |  |  |  |  |
| Showers are arranged to provide adequate privacy for the user. |  |  |  |  |
| Accommodation for Clothing |  |  |  |  |
| Accommodation is provided for clothing not being worn during working hours. |  |  |  |  |
| Accommodation is provided for special work clothing such as overalls, uniforms etc. |  |  |  |  |
| Such accommodation (minimum of a separate hook for each person) provides a clean, warm, dry, well-ventilated place, where clothing can dry out during the course of the day, if necessary. |  |  |  |  |
| Facilities for Changing Clothing |  |  |  |  |
| Where workers need to remove more than outer clothing in order to change into special work clothing, a changing room (or rooms) is provided. |  |  |  |  |
| Where workers’ own clothing could be contaminated by a harmful substance, a changing room (or rooms) is provided. |  |  |  |  |
| Facilities for Rest |  |  |  |  |
| Where workers have to stand to carry out their work, suitable seats are provided for their use, if the type of work gives them the opportunity to sit down from time to time. |  |  |  |  |
| Suitable seats are provided for use during breaks (in a suitable place, where PPE does not need to be worn). |  |  |  |  |

| p4 of 6: Checklist of Workplace Precautions for Higher Risk Areas |
| --- |
| Inspection Topic & Issue | N/A ( | Supporting Evidence | Comments (hazard, non-conformance, problem etc.) |
|  |  | S ( | Un ( |  |
| Welfare Facilities cont’d |  |  |  |  |
| Facilities for Rest |  |  |  |  |
| Where rest areas or rooms are provided, they are large enough and have sufficient seats with back rests and tables, for the number of workers likely to use them at any one time. |  |  |  |  |
| Facilities for Eating |  |  |  |  |
| There is evidence that PPE is removed when using eating or rest facilities. |  |  |  |  |
| Lone Working |  |  |  |  |
| All lone or out-of-hours working has been risk-assessed and, where necessary, the appropriate measures put in place to control the risks. |  |  |  |  |
| Condition of Premises |  |  |  |  |
| Note separately any obvious defects in fabric/services of the premises e.g. floors, walls, ceilings, stairs, wiring, wall sockets, lighting, toilets, furniture, fixtures, fittings etc. that need to be notified to Estates Management. |  |  |  |  |
| General Housekeeping |  |  |  |  |
| The general work area (including furniture, fittings, benches, sinks, equipment etc.) is kept sufficiently clean, tidy and free from accumulated glassware and clutter. |  |  |  |  |
| Floors, walls and ceilings are capable of being kept sufficiently clean. |  |  |  |  |
| Waste materials are only placed in suitable receptacles, in designated areas and which are emptied regularly. |  |  |  |  |
| Passageways and traffic routes are clear of obstructions and tripping hazards, e.g. cables, boxes, stock, rubbish etc. |  |  |  |  |
| Correct hazard identification signage is displayed on entry doors. |  |  |  |  |
| Equipment, materials and objects are stored in a stable and secure manner. |  |  |  |  |
| Contained chemicals substances appear to be correctly and clearly labelled. |  |  |  |  |
| When not in use, chemicals appear to be stored in compatible groups, on stable shelving. |  |  |  |  |
| All containers appear to be in good condition. |  |  |  |  |
| A spill clean kit is available and well stocked. |  |  |  |  |
| The loading of racking/shelving appears to be within its design limitations. |  |  |  |  |
| All chemical containers (including waste containers) appear to be sealed when not in use. |  |  |  |  |
| Control of Substances Hazardous to Health (COSHH) |  |  |  |  |
| Suitable and sufficient COSHH assessments have been carried out for the work activities involving hazardous substances, are readily available and have been read by relevant persons. |  |  |  |  |
| There is evidence that COSHH assessments are reviewed when changes may render the original invalid. |  |  |  |  |
| Substances hazardous to health are clearly and appropriately labelled (e.g. hazard symbols on orange warning signs). |  |  |  |  |
| LEV operating parameters are displayed close to each unit. |  |  |  |  |

| p5 of 6: Checklist of Workplace Precautions for Higher Risk Areas |
| --- |
| Inspection Topic & Issue | N/A ( | Supporting Evidence | Comments (hazard, non-conformance, problem etc.) |
|  |  | S ( | Un ( |  |
| Work with Biological Agents & Materials |  |  |  |  |
| Biological samples appear to be clearly labelled. |  |  |  |  |
| Cultures appear to be correctly stored. |  |  |  |  |
| Biohazard waste bags/containers are available in designated locations. |  |  |  |  |
| Containers are available for disposal of sharps. |  |  |  |  |
| There is evidence that autoclave and biohazard disposal procedures are followed. |  |  |  |  |
| Fume Cupboards |  |  |  |  |
| Are free of stored materials and clutter. |  |  |  |  |
| Signs are displayed showing maximum permitted height of opening for each class of substance and results of last test. |  |  |  |  |
| Integral storage cabinets for chemicals are vented to an LEV system. |  |  |  |  |
| Integral storage cabinets for flammable substances are sealed to prevent air ingress. |  |  |  |  |
| Anemometer checks are carried out at least annually or if there are significant changes in the use of the fume cupboard and results recorded. |  |  |  |  |
| Suitable signage is displayed if a fume cupboard is designated for work with radioactive materials. |  |  |  |  |
| Records are kept of the types of substances extracted by each fume cupboard. |  |  |  |  |
| Microbiological Safety Cabinets (MSC) |  |  |  |  |
| Are free of stored materials and clutter. |  |  |  |  |
| Anemometer checks are carried out at least annually or if there are significant changes in the use of the fume cupboard and results recorded. |  |  |  |  |
| Signs are displayed showing containment level and results of last test. |  |  |  |  |
| Suitable signage is displayed if an MSC is designated for work with radioactive materials. |  |  |  |  |
| Disinfectant is available for daily decontamination of work surfaces and spill kit available for clean up. |  |  |  |  |
| Records are kept of the types of substances extracted by each MSC. |  |  |  |  |
| Personal Protective Equipment (PPE) |  |  |  |  |
| Where PPE is required by departmental safety regulations, risk assessment, safe system of work or standard operating procedure, there is evidence it is being worn. |  |  |  |  |
| Respiratory Protective Equipment (RPE) |  |  |  |  |
| Where RPE is required by departmental safety regulations, risk assessment, safe system of work or standard operating procedure, there is evidence it is being worn. |  |  |  |  |
| Clinical Waste |  |  |  |  |
| Those appointed as nominated co-ordinators are known to all relevant staff. |  |  |  |  |
| Hazardous Waste |  |  |  |  |
| Those appointed as nominated co-ordinators are known to all relevant persons. |  |  |  |  |

| p6 of 6: Checklist of Workplace Precautions for Higher Risk Areas |
| --- |
| Inspection Topic & Issue | N/A ( | Supporting Evidence | Comments (hazard, non-conformance, problem etc.) |
|  |  | S ( | Un ( |  |
| Dangerous Substances and Explosive Atmospheres Regulations (DSEAR) |  |  |  |  |
| All storage cabinets for flammable substances contain only the aggregated maximum of 50 litres. |  |  |  |  |
| Radiation |  |  |  |  |
| Suitable and sufficient risk assessments have been carried out for work activities involving radiation, are readily available and have been read by relevant persons. |  |  |  |  |
| Appropriate signage and certificates are displayed. |  |  |  |  |
| Adequate security is in place. |  |  |  |  |
| Waste containers are appropriately labelled. |  |  |  |  |
| Contamination surveys are performed and recorded. |  |  |  |  |
| Where radiation waste is produced, it is included in uplifts co-ordinated by the Radiation Protection Service. |  |  |  |  |
| Gas Safety (Compressed & Cryogenic Gases) |  |  |  |  |
| Those appointed as competent persons are known to all relevant persons. |  |  |  |  |
| Written, safe procedures, including good practice Guidance Notes published by the British Compressed Gases Association (BCGA), are available for reference. |  |  |  |  |
| Those who use, handle, store, transport or change gas cylinders have been given suitable training to carry out their duties safely and issued with PPE, where necessary. |  |  |  |  |
| Cylinders are kept upright (unless designed to be used otherwise) and properly secured in position. |  |  |  |  |
| Safe operating limits for the pressure and temperature are clearly displayed for particular cylinders. |  |  |  |  |
| Relevant persons have been made aware of the location of gas isolating valves in their area. |  |  |  |  |
| Gas regulators have been inspected within the last year. |  |  |  |  |
| Lifting Operations and Lifting Equipment |  |  |  |  |
| Safe working loads are clearly displayed and equipment is tagged with the date of the latest test. |  |  |  |  |
| Pressure Systems/Autoclaves |  |  |  |  |
| Relevant test certificates are displayed in the vicinity of each pressure system. |  |  |  |  |
| Emergency Arrangements |  |  |  |  |
| Local emergency procedures have been communicated to all relevant persons and tested. |  |  |  |  |
| Specific Issues not covered elsewhere: |  |  |  |  |
| For issues that require attention by Estates Management, a Service Request or a Maintenance Request should be raised or the Helpdesk (ex 2164) notified without delay. |
| Where it is not possible, for members of the inspection team to take immediate corrective action to deal with an issue, then these should be used to form the basis of the Safety Inspection Report (S24c) |
| Issues that require significant senior departmental management input and a response in the longer term can form the basis of the Departmental Safety Action Plan. |