## Chart ready to take data
How to use this spreadsheet: enter data into green cells. Read results from yellow cells. Units are in orange, change only if needed
Take a voltage reading from a cuvette of clear water and record it here, as a number, with no units. Make sure the cuvette is oriented correctly (clear side in the path of the light).
mV
Take a series of measurements. Enter them in the table of measurements, further down the page.
At the end of your series of measurements, take a water background again. If it's slightly different, record the new value here. If it's very different, check the cuvette is oriented correctly and the batteries are not running down.
mV
Variance: if this value is over 5%, you may need to replace the batteries and re-take your data, since the light intensity is dropping too rapidly and your results are no longer accurate.
| #DIV/0! | Variance
Average blank reading
| #DIV/0! | mV
Enter each of your concentrations into the first column, and the associated reading from the voltmeter into the second column. You may not need to use every cell.
Concentration may have different units - as long as they are consistent, this helper will work. Modify the heading if needed.
Absorbance will calculate automatically, and update the chart.
Absorbance accuracy threshold. Absorbance values above this number will not be reliable. Values above 1, but below this threshold, *may* be reliable, so treat with caution
| Table of measurements |  |  |  | #DIV/0!
| Concentration/μM | reading/mV | % Transmittance | Absorbance |  | Predict a reading from the line of best fit. Enter a voltage here for a new reading, along with a new blank reading (if different). Concentration will be predicted
|  |  | #DIV/0! | #DIV/0! |  |  | reading/mV
|  |  | #DIV/0! | #DIV/0! |  |  | blank/mV
|  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | Abs
|  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | Concentration/μM
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
|  |  | #DIV/0! | #DIV/0!
Chart title, do not change
Absorbance vs. Concentration/μM
Provided as part of the “Spectroscopy in an Envelope” project, version 0.51, prepared April 2026.
Copyright University of Strathclyde - may not be shared or re-used without permission.

## Chart with example data
How to use this spreadsheet: enter data into green cells. Read results from yellow cells. Units are in orange, change only if needed
Take a voltage reading from a cuvette of clear water and record it here, as a number, with no units. Make sure the cuvette is oriented correctly (clear side in the path of the light).
| 73.1 | mV
Take a series of measurements. Enter them in the table of measurements, further down the page.
At the end of your series of measurements, take a water background again. If it's slightly different, record the new value here. If it's very different, check the cuvette is oriented correctly and the batteries are not running down.
| 72.7 | mV
Variance: if this value is over 5%, you may need to replace the batteries and re-take your data, since the light intensity is dropping too rapidly and your results are no longer accurate.
| 0.5502% | Variance
Average blank reading
| 72.9 | mV
Enter each of your concentrations into the first column, and the associated reading from the voltmeter into the second column. You may not need to use every cell.
Concentration may have different units - as long as they are consistent, this helper will work. Modify the heading if needed.
Absorbance will calculate automatically, and update the chart.
Absorbance accuracy threshold. Absorbance values above this number will not be reliable. Values above 1, but below this threshold, *may* be reliable, so treat with caution
| Table of measurements |  |  |  | 2
| Concentration/μM | reading/mV | % Transmittance | Absorbance |  | Predict a reading from the line of best fit. Enter a voltage here for a new reading, along with a new blank reading (if different). Concentration will be predicted
| 200 | 0.9 | 1.235% | 1.9085 |  | 25.4 | reading/mV
| 100 | 7.1 | 9.739% | 1.0115 |  | 72.9 | blank/mV
| 50 | 22.1 | 30.32% | 0.51834 |  | 0.45789 | Abs
| 25 | 39.7 | 54.46% | 0.26394 |  | 48.2685 | Concentration/μM
| 12.5 | 53 | 72.7% | 0.13845
| 6.25 | 60.7 | 83.26% | 0.079539
| 3.125 | 63.9 | 87.65% | 0.057227
Chart title, do not change
Absorbance vs. Concentration/μM
Provided as part of the “Spectroscopy in an Envelope” project, version 0.5, prepared March 2026.
Copyright University of Strathclyde - may not be shared or re-used without permission.