## Slide 1: Development of an O&M Tool for Offshore Wind Farms
Rafael Dawid
Rafael.dawid@strath.ac.uk
Supervised by:
David McMillan & Matthew Revie

## Slide 2: Introduction
The problem: On the day planning maintenance actions at an offshore wind farm:
  Which vessels to use?
  Which turbines to visit?
  In what order should repairs be carried out?
Vessel routing is still planned without decision support tools
Low wind turbine accessibility during winter
High uncertainties (failure diagnosis, repair duration, human error, transfer onto turbine not always possible)

## Slide 3: Methodology
Not all possibilities can be analysed: number of possible combinations increases exponentially with no. of WTs
Key constraints are: time, vessel capacity, number of technicians
Value = Rewards minus costs
Is highest value policy always best?
Generate many possible policies
Calculate the value of each feasible policy
Eliminate policies which can’t be carried out
Select the highest value

## Slide 4: Model Inputs

## Slide 5: Output: Vessel Dispatch Strategy

## Slide 6: Output: Gantt Chart

## Slide 7: Output: Value function
In some instances, only a handful of policies enable visiting the maximum number of turbines

## Slide 8: Probability
Probability of successfully carrying out a policy is calculated. Factors considered (user inputs):
  Probability of successful transfer from a given vessel onto a given turbine
  Probability of each individual repair not taking longer than the expected duration + slack time
  Probability of correct failure diagnosis
Risk appetite can be defined by the user

## Slide 9: Summary
Conclusions
No other models in academia which can deal with the practical problem
Assumptions & inputs verified by offshore O&M operator
User-friendly outputs
Computational time can be changed depending on the desired accuracy
“Repair probability” variable can be used to eliminate policies which are highly unlikely to be successful
Future Work
Assess the importancy of getting the estimated time of repair right
More in-depth real life case studies
Practical application/commercialisation?

## Slide 10
Questions ?
futurewind 2017 is sponsored by:
Organised by the Wind & Marine Energy Systems CDT