## Slide 1: Comparison of Wind Power Generation across Europe
Alice Malvaldi
alice.malvaldi@strath.ac.uk
Supervisors: Stephan Weiss, David Infield
Work in collaboration with Aoife Foley at Queen’s University of Belfast

## Slide 2: Motivation
Growing wind power penetration
More challenges for power system operators
Prospect of a single European energy market
More electricity interconnectors being built
Study of wind power correlation across Europe

## Slide 3: Datasets
Country | Time resolution | Source | 2014 [MW]
Austria (AT) | 15 min | Austrian Power Grid (APG) | 2,089
Belgium (BE) | 15 min | Elia | 1,959
Denmark (DK) | 1 h | Energinet.dk | 4,882
Germany (DE) | 15 min | TransnetBW, TennetT, 50Hertz, Amprion | 39,128
Great Britain (GB) | 5 min | Gridwatch, BM Reports, ELEXON Ltd | 12,298
Ireland (IE) | 15 min | SONI and EirGrid | 2,787
Italy (IT) | 1 h | Terna S.p.A. – Rete Elettrica Nazionale | 8,663
Romania (RO) | 10 min | Transelectrica | 2,953
Spain (ES) | 10 min | Red Eléctrica de España | 23,025
Sweden (SE) | 1 h | Svenska Kraftnät | 5,424
Total | 79.82% of the total installed capacity in Europe (129,062 MW) |  | 103,019

## Slide 4: Datasets and Interconnectors

## Slide 5: Wind Power Production
Time: 1st December 2013 at 1am – 21st December 2013 at 9pm

## Slide 6: Cross-Correlation Coefficients
Normalised wind power:
Cross-correlation function:
Zero lag (m = 0)

## Slide 7: Cross-Correlation Sequences
West-East separation
North-South separation

## Slide 8: Ideally Interconnected Europe
Average of the 10 selected datasets (80% of the total EU installed capacity)
No power system flows modelled
No limits on power transport

## Slide 9: Conclusion
Important correlation characteristics:
  Lags in correlation between country pairs
    Power system operations
    Storage optimisation
    Inter-market trading
  Direction of separation influences cross-correlation function
An ideally interconnected European system exhibits less number of hours of very high and very low production - smoothing effect

## Slide 10
Questions ?
futurewind 2017 is sponsored by:
Organised by the Wind & Marine Energy Systems CDT