## Slide 1: Reactive Power Capabilities of Distributed Wind Generators
Daniel Danzerl
daniel.danzerl@strath.ac.uk
Supervisors : Simon Gill, Olimpo Anaya-Lara

## Slide 2: Outline
Motivation
Case-study
Results
Conclusion

## Slide 3: Motivation
Voltage rise issues have become a major limiting factor that prevents greater penetration of distributed wind generation connections.
Conventional corrective methods have relied on applying strict operational limits, connecting external devices (e.g. SVC, STATCOMs) and grid imports from the transmission networks.
A move towards future decentralised approach to voltage management that fully utilises the reactive power capabilities of the DWGs is an emerging technology and one that has not yet been investigated extensively.
The study aims to investigate the reactive power capabilities of DWG as a corrective measure and to explore its potentials to maximise wind generation capacities in distribution networks.

## Slide 4: Case-study:
Matpower Model
Case study area
Normalised wind profile (2-weeks)
Active demand profile (2-weeks)
St Andrew’s 11kV Radial Distribution Feeder
Operation conditions

## Slide 5: Results:
Base - case
= unity (1)
= 0
Voltage control through

## Slide 6: Results:
Constant / Fixed PF
Q/P ratio = constant
Voltage control through and

## Slide 7: Results:
Variable PF
Q/P ratio = varied
Voltage control through and

## Slide 8: Results
Energy generation
Total energy generated and curtailed
DWGs are capable of addressing the voltage rise issue through their reactive power dispatch
Greater connection capacities for DWGs operating at variable power factor control mode
Significant reduction in curtailment increasing the economic benefit of wind integration into distribution networks

## Slide 9: Conclusion
A detailed case-study assessment of reactive power capabilities of wind generators for voltage control at distribution networks
Maximum generation levels realised when DWG are operated within their dynamic reactive power capability range
A move towards future autonomous operation of distribution networks involves greater participation of the DWGs in providing their own ancillary services and external grid support
A need for smarter commercial arrangements and market structure that incentivises DWGs to support the network through their reactive power dispatch.

## Slide 10
Questions ?
futurewind 2017 is sponsored by:
Organised by the Wind & Marine Energy Systems CDT