Organising and Hosting Safe Events

Post – Event Safety Checklist (Form S26c)

This checklist is designed to enable organisers of events to carry out a safety inspection once an event is over. It is advised that the inspection is carried out by at least two members of the organising committee.  Where high risk issues are identified, these should be addressed urgently, either to apply measures that will control the risks or to prevent exposure to the risk, for example by isolating the particular area in question. Please use in conjunction with ‘Guidance for Departments on Organising and Hosting Safe Events’

| Ref: | Issue | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1. | Vacation of Venue |
| 1.2 | Have all members of the public vacated the venue? |  |  |  |  |
| 1.3 | Have all exhibitors vacated the venue? |  |  |  |  |
| 1.4 | Have all caterers left the venue? |  |  |  |  |
| 1.5 | Have all vehicles left the venue? |  |  |  |  |
| 1.6 | Has the venue been cleared of all hazardous objects that could pose risk to future users? |  |  |  |  |
| 2. | Attractions/Activities/Structures |
| 2.1 | Have all attractions/activities/structures been dismantled and removed? |  |  |  |  |
| 2.2 | Have temporary markers such as stakes, ropes, bunting, signs etc. been removed? |  |  |  |  |
| 2.3 | If structures are to be left overnight, are they in a safe condition, safe from vandalism and weather conditions? |  |  |  |  |
| 3. | Equipment & Services |
| 3.1 | Has all equipment, including gas cylinders, been dismantled and removed? |  |  |  |  |
| 3.2 | Have all temporary electrical installations been isolated and made safe? |  |  |  |  |
| 4. | Condition of Venue |
| 4.1 | Has any damage to facilities, buildings or grounds been reported? If so, report to Estates Management Helpdesk. |  |  |  |  |
| 4.2 | Has any damage been found during post-event inspection? If so, report to Estates Management Helpdesk. |  |  |  |  |
| 5. | Waste Collection |
| 5.1 | Has all waste been collected satisfactorily? |  |  |  |  |
| 5.2 | Has all waste been removed from the site? |  |  |  |  |
| 6. | Fire Safety |
| 6.1 | Is the fire-fighting equipment still in place? |  |  |  |  |
| 6.2 | Are fire extinguishers in good working condition e.g. not discharged or damaged? |  |  |  |  |
| 7. | Accidents |
|  | Were any accidents or incidents reported? If so, make a report on an S1 form and give it to the DSC. |  |  |  |  |

Inspection team: Signatures:

Date and time of inspection: